## Sheet1
Tag | Designation | Mobile Application | Show | SettingsScreen | Values
Identification | Application Tag | r/w | TRUE
| Device Name | r | TRUE
| Device ID1 | r | TRUE
| Device ID2 | r | TRUE
| Device ID3 | r | TRUE
| Vendor Name | r | TRUE
| Vendor ID1 | r | TRUE
| Vendor ID2 | r | TRUE
| Device Serial No. | r | TRUE
| Hardware Version | r | TRUE
| Firmware Version | r | TRUE
| Order Code e.g.ICT200-DOW-M6 | r | TRUE
| Device Type | r | TRUE
| User Role | r | TRUE
Diagnostics | Actual Diagnostics e.g. C485 (= SIMULATION ACT.) | r | TRUE
| Last Diagnostics e.g. S962 (= OUT OF RANGE) | r | TRUE
| Simulation Proc. Var. | r/w | TRUE
| Sim.Proc.Var.Value Conductivity Unit selection list from Unit Conductivity | r/w | TRUE
| Sim.Proc.Var.Value Concentration Unit selection list from Unit Concentration | r/w | TRUE
| Sim.Proc.Var.Value Temperature Unit selection list from Unit Temperature | r/w | TRUE
Measured Values | Conductivity Current conductivity measured value | r | TRUE
| Concentration Current concentration measured value | r | TRUE
| Temperature Current temperature measured value | r | TRUE
System Units | Unit Conductivity | r/w | TRUE
| Unit Concentration | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| Unit Temperature | r/w | TRUE
Conductivity | Range | r/w | TRUE
| Temperature Compensation | Null | TRUE
TRUE
|  | r/w | TRUE
TRUE
| Temperature Coefficient | r | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| Reference Temperature | r/w | TRUE
|  | r/w | TRUE
| Cell Constant | r | TRUE
| Mounting Factor | r/w | TRUE
| Zero Point | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| Filter Count Constant | r/w | TRUE
Concentration | Measurement Type | r/w | TRUE
| Measurement Range | r | TRUE
TRUE
TRUE
|  | r/w | TRUE
|  | r | TRUE
TRUE
TRUE
|  | r | TRUE
TRUE
TRUE
|  | r | TRUE
TRUE
Output 1 | Output Type | r/w | TRUE
| Current Output | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| Switch Output | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| IO-Link | Null | TRUE
Output 2 | Output Type | r/w | TRUE
| Current Output | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| Switch Output | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
| Digital Input | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
Display | Backlight | r/w | TRUE
Communication | Communication Type | r/w | TRUE
| Bluetooth | r/w | TRUE
|  | r | TRUE
|  | r | TRUE
| WiFi | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
|  | r/w | TRUE
System | Language | r/w | TRUE
| Set Access Code | w | TRUE
| Access Code | w | TRUE
| Auto-Calibrate | w | TRUE
| Device reset | w | TRUE
| User Role ? | Null | TRUE